# Customer Transition Meeting

| Project: | Date: |
| --- | --- |
| Location: | Planner/Project Manager: |
| Attendees: |  |

# Overview

Customer Transition Meeting(s) shall be held with the Project Team, Operations staff, building occupants, and other stakeholders that are involve in the day-to-day operations of campus buildings and grounds, prior to substantial completion, to give them time to learn how to properly utilize their new space.  Meetings should be held on a regular basis depending on the complexity of the project.

# Process

- Identify actual Customer Transition date (depending on the project size, approx. 1-6 months before the anticipated date.)

- Schedule an FMD and Facilities Engineering coordination meeting (approx.1-4 months before the anticipated date.)

  - Develop Customer Transition Meeting Agenda

  - Modify Service Matrix to suit that building/area

  - Identify what training is required for building systems and equipment and who should be included in training.  Set up individual training meetings with building operators and Customers as required.

    - Building mechanical systems

    - Specific equipment such as glassware washers, autoclaves, etc.

- Schedule a follow-up FMD and Facilities Engineering coordination meeting (approx. 1 month before the anticipated date)

  - Confirm Customer Transition Meeting agenda

  - Confirm the updated Service Matrix

  - Identify any other items that should be addressed

- Schedule the Customer Transition Meeting (approx. 1 month before the anticipated date)

  - Meeting attendees to include:

    - Planner/Project Manager (meeting facilitator)

    - Facilities Engineering

    - Customer Representative (building manager, Business Manager, etc.)

- Meet with the Customer

- Follow-up with the Customer approx. 1 month after the Customer Transition Meeting

# Sample Customer Transition Meeting Agenda

- Introductions

- Schedule

  - Review pre-established meeting schedule with Customers

- Building Operations

  - Custodial

    - Contacts

    - What to expect

    - Frequency

    - Custodial Supplies

  - Engineering – describe how building systems will be supported by Facilities Engineering

    - Contacts

    - Description of building systems

      - HVAC

      - Plumbing

      - Specialty such as purified water, piped laboratory gases, HEPA systems, etc.

    - Who oversees systems adjustment and maintenance

    - Frequency of anticipated maintenance

  - Support Services - hold an orientation on FISC and Service Now (Regina Sykes)

  - EH&S

    - Contacts

    - What is required from EH&S to open a space utilizing chemicals, biohazards, and radioactive materials

  - Protective Services

    - Contacts

    - Provide Protective Services with a list of people working in the space

    - Description of security for new space

- Future Meetings Required