Washington University School of Medicine

Contractor / Project Safety Check List

PM’s will review each of these points that pertain to their project and have the general contractor sign this form after the pre-construction meeting signifying he / she understands our intent for a safe project.

Safety is the number “1” priority at Medical School

⁭	2-Help (362-4357) Fire / Ambulance / Spill / Security

⁭	Maintenance – 362-3100 or 362-3102 (24 hr. computer room)

⁭	Contractor emergency contact list

⁭	Hot work permit & on site instructions

⁭	Fire Extinguishers at exits

⁭	Safety Data Sheets for all (paints, glues, solvents etc.)

⁭         PPE (especially hard hats & Glasses)

⁭	Utility outage procedures, normally two week notification

⁭	Fall protection / Safety harness (both personnel and equipment / tool tie down)

⁭	Job site housekeeping / regular trash removal/ regular elevator door track cleaning / no tobacco and shell spitting etc.

⁭	Confined space / air monitoring / tripod use / buddy system

⁭	No smoking, spitting in/on Med School buildings & parking lots

⁭	Fluorescent lamps, ballast and hazard waste disposal

⁭	Smoke detectors, Sprinkler, Standpipe Procedures

⁭	Infection Control forms and procedures/notification of mold, lead and asbestos findings

⁭	Coordination between contractors Lock-out-tag-out and the Medical Schools

⁭	Railings/Kick boards/Scaffoldings/ Ladders

⁭	Trenching / Set backs / Shoring / Soil classification / Daily soil evaluation

⁭	Rigging Procedures

⁭	Fencing & Signage

⁭	Temporary exiting strategies & signage

⁭	Road guards / safety vest / traffic signage

⁭	Written safety procedures on specific jobs (hoisting, helicopter, etc.)

⁭	HEPA filtration on site / number depends on situation & size

Project #’s ___________	Project Name___________________________________

General Contractor ________________________________________Date__________

WUSM Project Manager____________________________________Date__________