## Laboratory Equipment
[26 empty] | KEY TO DATABASE ABBREVIATIONS: | [29 empty] | Shell Space Key
LOCATION: Washington Univerisity School of Medicine - | [25 empty] | LOCATION (LOC) |  |  |  |  | SERVICES | [6 empty] | SPECIAL ELECTRIC | [8 empty] | REMARKS |  | RESPONSIBILITY | [6 empty] | NOT TO SCALE
LABORATORY EQUIPMENT SCHEDULE FORM | [25 empty] | B: BENCH |  |  |  |  | CW: COLD WATER | [6 empty] | SB: STAND-BY POWER | [8 empty] | FD: FLOOR DRAIN |  | O.F.O.I.: OWNER FURNISHED/OWNER INSTALLED | [7 empty] | 049 Shell 1
FILE: | [25 empty] | C: CEILING-MTD |  |  |  |  | HW: HOT WATER | [6 empty] | DP: DEDICATED POWER | [10 empty] | O.F.C.I.: OWNER FURNISHED/CONTRACTOR INSTALLED
DATE: | [25 empty] | F: FLOOR MOUNTED |  |  |  |  | CLW: CHILLED WATER | [17 empty] | O.F.M.I.: OWNER FURNISHED/MANUFACTURER INSTALLED
[26 empty] | W: WALL MOUNTED |  |  |  |  | RGW: REAGENT GRADE WATER | [6 empty] | NC: NETWORK CONNECTION
DEPARTMENT/PROGRAM: | [25 empty] | S: SHELF |  |  |  |  | CA: COMPRESSED AIR | [6 empty] | GIS: GAS INJECTION SYSTEM
CONTACT PERSON:
TELEPHONE : | [56 empty] | 049 Shell 2 | 049 Shell 3 | 049 Shell 4 | 049 Shell 5
E-MAIL:
|  |  |  | VENDOR | [7 empty] | TESTED |  | ELECTRICAL SERVICES | [10 empty] | TELE/DATA | UTILIITIES | [17 empty] | EXHAUST-CFM |  |  | EQUIP |  |  |  | Requires | Requires | Login
| Existing | EQUIPMENT INFORMATION: | MANUFACTURER | CONTACT | LOCATION: | Dim - in. |  |  | WEIGHT | FURN | CONN | CERTIFIED | DECOM | 120V | 208V |  | 220/240V |  | 480V |  | SPECIAL |  |  | PLUG |  | CW |  | HW |  | CLW |  | RGW |  | CA |  | GAS |  | VAC |  | CYLINDER | DRAIN | COOLING AIR | HEAT OUTPUT | EXHAUST |  | EQUIP | CUTS | EXISTING | NEW | NEW | GIS | UPS | System
EQP # | or Future | ITEM DESCRIPTION | /MODEL # | INFO | B/C/F/W | W | D | H | LB | BY | BY | BY | BY | AMP | AMP | PH | AMP | PH | AMP | PH | SB | DP | NC | CONFIG | REQUIRED | PSI | GPM | PSI | GPM | PSI | GPM | PSI | GPM | SCFM | PSI | SCFM | PSI | SCFM | Hg | TYPE | SIZE | CFM | BTUH | CFM | CANOPY | PHOTO | BY | LOCATION | LOCATION | LOCATION |  |  |  | OTHER / REMARKS | RESPONS.